## Slide 1: Observability Function of the BRAMS forward scatter network
Lamy H.1, Verbeeck C.2, Balis J.1; Anciaux M.1,
Calders S.1 ; Calegaro A.1 ; Martínez Picar A.2
1 Royal Belgian Institute for Space Aeronomy
2 Royal Observatory of Belgium

## Slide 2: What is Observability Function (OF)?
Forward scatter of radio waves
Raw meteor rates observed during a meteor shower
“Real” activity of the meteor shower
OF

## Slide 3: Work mostly based on Verbeeck (1997)

## Slide 4: Geminids activity measured with BRAMS data
Radio Meteor Zoo
Data from station in Humain

## Slide 5: The specularity condition and its consequences
Suleymanova et al. (2008)
Wislez et al. (2005)

## Slide 6: Observability Function (OF) : geometrical part
x0, y0, z0 = coordinates of reflection point
l, m, n = director cosines of the radiant
For a given altitude / z0, we obtain a 6th order polynomial equation between x0 and y0

## Slide 7: Example of geometrical OF calculated for the BRAMS network
l = sin  cos , m = sin  sin , and n = cos .
Integration over altitude with steps of 5 km

## Slide 8: Observability Function : sensitivity part
Amax
A0
Underdense meteor echoes

## Slide 9: Observability Function : sensitivity part

## Slide 10: Observability Function : sensitivity part

Receiving antennas
Transmitting antenna

## Slide 11: Observability Function : sensitivity part
Amax  K . 
K = K(GT, GR, , , geometrical parameters, r0)
Min value for the ionization 
Min value for the mass m
Distribution of mass particles inside a meteor shower
N(m > m0)  m1-s
s can come from previous measurements or be calculated from the CDF of meteor echoes amplitude

## Slide 12: Example of Cumulative number of meteors vs amplitude
Blauuw et al. (2011)

## Slide 13: Summary and perspectives
We can calculate the OF for a given Tx-Rx pair of the BRAMS network and for a given position of the radiant of a meteor shower.
We would like to produce a polar plot of the OF as was done e.g. by Pavel Zigo for the Lecce-Modra system
Zigo (2008)

## Slide 14: Perspectives and limitations
2 stations : BEOUDS and BEHUMA
Several meteor showers analyzed by RMZ users
Different distances, different sensitivities, slightly different geometries
Calculating their OF at a given time and correct their raw data should provide two values which are consistent with each other
The sensitivity part assumes underdense meteor echoes while a non-negligible part of meteor echoes during meteor showers are intermediate or overdense …
Other formulas?